<<Facility Name>>

BATTERY-OPERATED SMOKE DETECTOR MAINTENANCE LOG FOR (Year): ______

All battery-operated smoke detectors present in the facility are required to be tested and maintained in accordance with manufacturer’s instructions. This form is to be used to record the dates on which these detectors are tested and cleaned and batteries replaced. Any problems found must be noted in the “Comments” section of this form. Each entry must be initialed by the person performing the service.

T = Tested                      C = Cleaned

|  |  |  |  |  |  |  |  |  |  |  |  |  | Date Battery Replaced |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: ________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ |

ANY TOWN NURSING HOME

BATTERY-OPERATED SMOKE DETECTOR MAINTENANCE LOG FOR: 2020

All battery-operated smoke detectors present in the facility are required to be tested and maintained in accordance with manufacturer’s instructions. This form is to be used to record the dates on which these detectors are tested and cleaned and batteries replaced. Any problems found must be noted in the “Comments” section of this form. Each entry must be initialed by the person performing the service.

T = Tested                      C = Cleaned

|  |  |  |  |  |  |  |  |  |  |  |  |  | Date Battery Replaced |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 1/12 | 1/19 | 1/26 | 2/03 | 2/10 | 2/17 |  |  |  |  |  |  |  |
| Location: Room 110 | T/C JJL | T JJL | T JJL | T JJL | T JJL | T JJL |  |  |  |  |  |  | 2/10/20 JJS |
| Room 111 | T JJL | T/C JJL | T JJL | T JJL | T JJL | T JJL |  |  |  |  |  |  |  |
| Room 112 | T JJL | T JJL | T/C JJL | T JJL | T JJL | T JJL |  |  |  |  |  |  |  |
| Room 210 | T/C RLI | T RLI | T RLI | T RLI | T RLI | T RLI |  |  |  |  |  |  | 2/10/20 JJS |
| Room 211 | T RLI | T/C RLI | T RLI | T RLI | T RLI | T RLI |  |  |  |  |  |  | 2/10/20 JJS |
| Room 212 | T RLI | T RLI | T/C RLI | T RLI | T RLI | T RLI |  |  |  |  |  |  |  |
| Comments: Smoke detector in Room 110 was found damaged on 2/10/20 and was replaced that date __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ March 3, 2020 |