## Question & Inquiry Form
Attachment G
Question and Answer Template
RFP # 25-81445
Please submit your questions in the form below (yellow shaded area) per RFP Section 1.24.
Click the dropdown in the RFP Document Column to select topic.
No. | RFP Document | Section Number | Page | Topic | Question | Response
1 | Attachment F Technical Proposal Template |  |  | Technical Specifications | Are there any specific method validation requirements or state accreditation standards that must be met for laboratory analyses? | IDEM expects the bidder to maintain accreditation from NELAP, A2LA, or state certification for the test methods and media. Attachment D3 details the QA/QC control criteria. The criteria are taken from the US EPA Contract laboratory program (CLP) and from EPA method QA/QC.
2 | Attachment F Technical Proposal Template |  |  | Technical proposal | Are vendors required to submit sample test results or case studies from previous contracts? | Although not required, case studies will be helpful in evaluating vendor's prior experience with the state and serving similar clients
3 | Attachment F Technical Proposal Template |  |  | Quality Control | What specific quality control and assurance metrics will be used to assess the vendor's performance? | IDEM will be looking at accrediation, MDLs, MRLs, results from proficiency studies, spot checks of SOPs to ensure QA/QC is included per method requirements.
4 | Attachment D Cost Proposal Template |  |  | Budget | What is the budget for this project? | Can not disclose this information.
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
Attachment A MWBE Commitment
Attachment A1 - IVOSB Commitment
Attachment B Sample Contract
Attachment C Indiana Economic Impact Form
Attachment D Cost Proposal Template
Attachment E Business Proposal Template
Attachment F Technical Proposal Template
Attachment H Reference Form
Attachment I Pre-Proposal Network Opportunities Form
Attachment J Attestation Form