RFP 26-87895

TECHNICAL PROPOSAL

ATTACHMENT F

INSTRUCTIONS

- Please supply requested information in the blue-shaded areas and indicate any attachments that have been included. - Document all attachments with which section and question they pertain to.

Mandatory Requirements

- Laboratory must be accredited as a testing laboratory under the International Organization for Standardization (ISO) 17025 by a third-party accrediting body, such as the American Association for Laboratory Accreditation (A2LA) or Assured Calibration and Laboratory Accreditation Select Services (ACLASS). The Contractor shall maintain accreditation under the ISO and shall notify ISEP within ﬁve (5) business days of any change in this accreditation status. Does your laboratory meet this requirement?

- Laboratory must be able to detect and quantify the following standard cannabinoids:

  - D9-THC

  - D9-THCA

  - D8-THC

  - (6aR, 9R) D10-THC

  - (6aR, 9S) D10-THC

  - D11-THC

  - THC-P

  - CBD

  - CBDA

Does your laboratory meet this requirement?

- Laboratory must be able to test the following specimens:

  - Flower

  - Powder

  - Liquid

  - Edibles

  - Crystals

  - Tinctures

  - E-liquid in closed or open system

Does your laboratory meet this requirement?

- Laboratory must be able to utilize liquid and/or gas chromatography to detect and quantify cannabinoids and tetrahydrocannabinol in accordance with contractor’s accreditation/certification requirements with a detection limit down to .03%.  Does your laboratory meet this requirement?

- Laboratory must provide all necessary services and supplies for specimen collection and testing, including but not limited to: appropriate tubes, bottles, syringes, specimen transport bags, evidence seals, transport boxes, documented chain of custody, laboratory analysis, formal written reports, interpretation and consultation services.  Does your laboratory meet this requirement?

- Laboratory must be able to maintain a forensic chain of custody for all specimens that are tested.  Does your laboratory meet this requirement?

- Laboratory must be able to notify the Indiana State Excise Police (ISEP) of any known conﬂict of interest or business relationship with any manufacturer of the specimens submitted for testing. Can your laboratory meet this requirement?

- Laboratory must be able to Provide a written report of results in ten (10) calendar days or less from receipt of the product. Can your laboratory meet this requirement?

Technical Proposal Questions

- Project Management – Status Updates and Reporting

  - Please describe the reports that will be sent to ISEP, and by what means of transfer (i.e. file type, etc.)

  - Please describe the laboratory’s standard operating procedures for testing cannabinoids and tetrahydrocannabinol. Provide a written copy of the standard operating procedures, if available.

- Deliverables and Deadlines

  - Please provide confirmation that all THC varieties and the listed sample types listed in the Statement of Work are able to be tested by your laboratory.

  - Please describe your laboratory’s quality control measures to ensure the accuracy of the test results.

  - Please describe the qualifications, including but not limited to education and experience, of the laboratory technicians that perform testing.

  - Please provide details of the forensic chain and how your laboratory plans to maintain this chain.