## Water and Wastewater
SCHEDULE A - Water and Wastewater |  |  |  | Contractor:
PeopleSoft Dept ID: | 55737 |  |  | Address:
Property: | Prophetstown State Park |  |  | Phone/Fax:
Address: | 4112 St Rd 225 E West Lafayette IN 47906 |  |  | Contact name:
Phone/Fax: | 765-567-4919 / 765-567-4320 |  |  | Email:
Property Mgr.: | Jason Getz
Email: | jgetz@dnr.in.gov
Contractor Note: Please improve the accuracy of this equipment list as you progress through the year.
Qty of Devices | Location Building or Area | Location Inside | Description | Manufacturer | Identification | Other Information
1 | Main Gate | Grinder Pump | Hydromatic Pump 2HP 1PH | Hydromatic | HPG200M22 | 15.6 A
| Liftstation |  | 230V
2 | Main Gate | Transfer Pump | Myer .5 HP 1PH 240V | Myer | MP52D
Liftstation
2 | Campground | Grinder Pump | Myer 5HP 1PH 240V | Myer | WG50H-21-25H
Liftstation
2 | CG Wetland | Dosing Pump | Myer .5HP 1PH 120V-240 | Myer | MW 50-21
Liftstation
4 | CG Wetland | Transfer Pumps | Myer .5HP 1PH 120V-240 | Myer | WHR5-21C | 5.25 A
Liftstation
1 | CG Wetland | Flow Transmitter | Magnetic Flow Transmitter | Unipulse | 4111
Flow Meter
1 | Office Liftstation | Grinder Pump | Hydromatic Pump 2HP 1PH | Myer | WG 20-21-20 | 3450 RPM 12.5 A
1 | Shop 1 Liftstation | Grinder Pump | Hydromatic Pump 2HP 1PH | Myer | WG 20-21-20 | 3450 RPM 12.5 A
1 | Shop 2 Liftstation | Grinder Pump | Hydromatic Pump 2HP 1PH | Myer | WG 20-21-20 | 3450 RPM 12.5 A
1 | APM Residence | Grinder Pump | Hydromatic Pump 2HP 1PH | Myer | WG 20-21-20 | 3450 RPM 12.5 A
2 | Aquatic Center | Liftstation Panels | Eletrical Components | Hoffman
7 | Aquatic Center | Effluent Pumps | Myers Pump 1 HP 1PH 230V | Myers | P102D
1 | Aquatic Center | Effluent Pumps | Keen Pump 1 HP 1PH 230V | Keen | KE102 | 19 A
All Maintenance Shall be Preformed on a quarterly basis.
This will involve checking all pumps listed, flow transmitter, air release valves, and all electrical panels that are associated in
process of the wetland systems and lift stations.